## Data
http://www.mrexcel.com/forum/power-bi/880236-return-subset-assets-based-related-criteria.html
Work Group | Work Order No | Plant No | Work Order Desc | Standard Job No | Standard Job Desc | Comments | Standard Job No Selection | Standard Job Desc
CHOXPM1 | 4316305 | DS00501 | Replace DOF Assembly | 1DOFSW | Replace DOF Assembly | insulation on drop out fuses perished | 1DOFSW | Replace DOF Assembly
CHOXPM1 | 4354555 | DS00547 | Oil Stain | 1OILST | Oil Stain | OIL STAIN ON BOTTEM EDGE OF SUB | 1OILST | Oil Stain
CHOXPM1 | 4442514 | DS00566 | Replace DOF Assembly | 1DOFSW | Replace DOF Assembly | roadside expulsion fuse deteriorated | 1OILLE | Oil Leak
CHOXPM1 | 4401307 | DS00593 | Oil Leak | 1OILLE | Oil Leak | oil leak from drain | 1VERMN | Vermin
CHOXPM1 | 3654611 | DS00629 | Oil Leak | 1OILLE | Oil Leak | chek oil leack at tap and at top of sub | 1SURGE | Replace Surge Diverter
CHOXPM1 | 4542591 | DS00658 | Replace DOF Assembly | 1DOFSW | Replace DOF Assembly | dof fuses perrished | 1HVHAR | Repair/Replace HV Hardware
CHOXPM1 | 4691703 | DS00727 | 3x expulsion fuses deteriorated | 1DOFSW | Replace DOF Assembly |  | 1HVARM | Replace HV Crossarm
CHOXPM1 | 3642707 | DS00756 | Vermin | 1VERMN | Vermin | birds nesting | 1TXREP | Replace Transformer
CHOXPM1 | 3958717 | DS00760 | Oil Leak | 1OILLE | Oil Leak | repair oil leak | 1ABSAH | Repair/Replace ABS Arcing Horn
CHOXPM1 | 4448138 | DS00861 | Replace DOF Assembly | 1DOFSW | Replace DOF Assembly | expulsion fuses x 2 deteriorated | 1MDIUN | Replace Broken MDI Unit
CHOXPM1 | 3855113 | DS01353 | Oil Stain | 1OILST | Oil Stain | oil stain at drain plug | 1LVHAR | Repair/Replace LV Hardware
CHOXPM1 | 3855114 | DS01353 | Replace Surge Diverter | 1SURGE | Replace Surge Diverter | old red insulators require replaceing | 1HVINS | Replace HV Insulator
CHOXPM1 | 4318027 | DS01543 | Repair/Replace HV Hardware | 1HVHAR | Repair/Replace HV Hardware | TYPE: Distribution Substation UG , ASSET NO: 1543 , DESCRIPTION: UG Dist Sub 1543, Padmount HV Switchgear , LOCATION: Roony Ave, Abbotsbury 2176 Switchgear moves excessively when operated-requires resecuring to plinth Passed on to Brendan Leshone
CHOXPM1 | 4518812 | DS01714 | Replace DOF Assembly | 1DOFSW | Replace DOF Assembly | replace degraded drop out fuses
CHOXPM1 | 4528990 | DS01714 | Replace DOF Assembly | 1DOFSW | Replace DOF Assembly | replace degraded drop out fuses
CHOXPM1 | 3688963 | DS01873 | Oil Leak | 1OILLE | Oil Leak | oil leak Contestable Works advised sub will be replaced under URS project in June 2015
CHOXPM1 | 3698639 | DS01879 | Oil Leak | 1OILLE | Oil Leak | oil leak on sub
CHOXPM1 | 3932426 | DS01879 | REPLACE HV CROSSARM | 1HVARM | Replace HV Crossarm
CHOXPM1 | 4518801 | DS01946 | Replace DOF Assembly | 1DOFSW | Replace DOF Assembly | replace degrade drop out fuses
CHOXPM1 | 3620714 | DS02275 | Oil Leak | 1OILLE | Oil Leak | OIL LEAK FROM SUB 2275
CHOXPM1 | 3934712 | DS02275 | REPLACE HV CROSSARM | 1HVARM | Replace HV Crossarm
CHOXPM1 | 3547607 | DS02403 | Oil Leak | 1OILLE | Oil Leak | oil stain on sub
CHOXPM1 | 3931960 | DS02403 | REPLACE TRANSFORMER | 1TXREP | Replace Transformer
CHOXPM1 | 3932388 | DS02403 | REPLACE HV CROSSARM | 1HVARM | Replace HV Crossarm
CHOXPM1 | 4012529 | DS02458 | Repair/Replace HV Hardware | 1HVHAR | Repair/Replace HV Hardware | replace drop out fuses
CHOXPM1 | 3769406 | DS02750 | Replace Surge Diverter | 1SURGE | Replace Surge Diverter | old style brown serg diverter
CHOXPM1 | 3183383 | DS02929 | Repair/Replace ABS Arcing Horn | 1ABSAH | Repair/Replace ABS Arcing Horn | arching horn needs removing
CHOXPM1 | 4316310 | DS03042 | Replace DOF Assembly | 1DOFSW | Replace DOF Assembly | drop out fuses insulation frayed
CHOXPM1 | 3596589 | DS03325 | Oil Leak | 1OILLE | Oil Leak | check oil leak
CHOXPM1 | 3931937 | DS03325 | REPLACE TRANSFORMER | 1TXREP | Replace Transformer
CHOXPM1 | 3659010 | DS03338 | Oil Leak | 1OILLE | Oil Leak | light oil leak
CHOXPM1 | 3932406 | DS03338 | REPLACE BROKEN MDI UNIT | 1MDIUN | Replace Broken MDI Unit
CHOXPM1 | 3659026 | DS03341 | Repair/Replace LV Hardware | 1LVHAR | Repair/Replace LV Hardware | meter box wire hanging out of sub
CHOXPM1 | 3748162 | DS03581 | Replace HV Insulator | 1HVINS | Replace HV Insulator | replace chipped insulator

## PivotTable
Plant No | Work Order No | Work Order Desc
DS01879 | 3698639 | Oil Leak
| 3932426 | REPLACE HV CROSSARM
DS02275 | 3620714 | Oil Leak
| 3934712 | REPLACE HV CROSSARM
DS02403 | 3547607 | Oil Leak
| 3931960 | REPLACE TRANSFORMER
| 3932388 | REPLACE HV CROSSARM
This shape represents a slicer. Slicers can be used in at least Excel 2010. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2003 or earlier, the slicer cannot be used.

## PowerQuerySolution
Plant No | Work Order No | Work Order Desc | Anzahl von Work Order No
DS01879 | 3698639 | Oil Leak | 1
| 3932426 | REPLACE HV CROSSARM | 1
DS02275 | 3620714 | Oil Leak | 1
| 3934712 | REPLACE HV CROSSARM | 1
DS02403 | 3547607 | Oil Leak | 1
| 3931960 | REPLACE TRANSFORMER | 1
| 3932388 | REPLACE HV CROSSARM | 1
Gesamtergebnis |  |  | 7
Diese Form stellt einen Datenschnitt dar. Datenschnitte werden in Excel 2010 und höher unterstützt. Wenn die Form in einer früheren Version von Excel geändert oder die Arbeitsmappe in Excel 2003 oder früher gespeichert wurde, kann der Datenschnitt nicht verwendet werden.